Building and site requirements
What needs to be considered when planning museum design and operations?

Summary

There are a number of issues both new and existing museums need to consider. These include the use of space; control of the internal environment; visitor flow and comfort; building security; maintaining the integrity of any heritage features of the site or building; and staff comfort.
Use of space

· Ideally, allow approximately one third of the space to work areas, collection storage and exhibitions. 
· If retail facilities are planned, ensure that these are visually separate from exhibitions.

Collection facilities

· Storage areas should be internal rooms. ‘Box within a box’

· Allocate separate storage areas for different types of materials, where possible. Paper and textiles should be stored separately from metals and wood

· Block natural light in all museum areas where collection are stored or displayed

· Ensure the building is well ventilated and that the air is filtered for dust.

· Minimise temperature and Relative Humidity fluctuations

· Plan for building security. See ‘Security’ information sheet.
Administration facilities

· Allocate a room for administrative facilities.
· Plan for curatorial space where staff can work without interruptions.
· Ideally, plan a research space where the public can use the museum’s reference library, resources, and appropriate collection information.

· If there are museum guides or attendants, ensure they have a comfortable place to sit; somewhere to store their belongings; a place to have refreshments, away from the collection.

Visitor flow and comfort

· A single point of entry and exit for visitors.
· If the museum site consists of more than one building, minimise the number of doors used. This is for both security and climate control purposes.

· A group assembly area is advisable. This assists with managing school and group bookings.

· Provide seating at strategic points throughout the museum.
· Clean toilets, conveniently located.
· Disabled access and safety considerations are paramount.

Heritage buildings

· Ensure that the heritage significance of any museum building or site is maintained and interpreted. This can present some challenges. It may seem that the demands of caring for a museum collection are not that compatible with the requirements of building conservation according to the Burra Charter. This issue requires careful consideration and planning.
Future expansion

· The most common reasons for expansion are for additional work and storage space, and to house large machinery. Allow for expansion needs in any new building, if possible.
· Appropriate housing of machinery should protect against further deterioration (preventive conservation principles apply). This should, at the least, include a level, sealed floor and walls that provide protection from the elements. Allow space for interpretation of the machinery.

· Take into account the potential for archaeological research when planning any new buildings.

References and further reading:

Museums Australia Inc (NSW). Museum Methods; A Practical Guide for Managing Small Museums. Section 1.2 Building and site requirements
Links:
Museums and Galleries Foundation of NSW, Just because it’s old: museums and galleries in heritage buildings, 2004, available online at http://www.heritage.nsw.gov.au/docs/justbecause.pdf 
Queensland Department of Employment & Training, 2001, Maintain the condition and security of the institution, a learning resource for Certificate IV in Museum Practice (CULMS408A), available online at http://www.docstoc.com/docs/32229556/Museum-security 
Source: Museum Methods and VH (author); edited LOB Jan 2007, reviewed JH April 2010


